Husna Mazhar

Task-3

Start

Smart Home Lighting System

Initialize system

- Set LDR threshold=500

- Set PIR delay=30s

- Light OFF

Yes

Yes

Yes

No

No

No

Read sensors                          LDR(ambient light level)          PIR(motion detection)

Keep light OFF              (daylight is sufficient)

Keep light OFF      (no motion)

Turn light ON                       (keep it ON while motion is detected)

Turn light OFF                               (30s passed, no motion)

Repeat                                       (continuous monitoring)

Is motion still detected after   30s?

Start 30-second timer                              (keep checking PIR)

Is motion detected by PIR?

Is ambient light level<500?